## Sheet1
Question ID | Prompt | Type | Notes
submissiondate | Autogenerated | Date
starttime | Time interview started | Time
endtime | Time interview ended | Time
deviceid | Autogenerated | Text
duration | Autogenerated (data entry time in seconds) | Time
date | Date of sample reading | Date
source | Sample source name | Text
sourceid | Sample source ID | Text
barcode_scan | Scan the sample barcode (automated entry of barcode) | Barcode
barcode_number | Note the barcode for the sample (manual entry of barcode) | Text
temperature | Temperature (degree c) | decimal
conductivity | Conductivity (µcm2 ) | integer
turbidity | Turbidity (NTU) | decimal
ph | pH | decimal
chlorine_level | Free Chlorine Level (mg/L) | decimal
coliforms | Total Coliforms- incubated at 37.0C (cfu/100ml) | Text | TNTC means 'too numerous to count', i.e. the plate was overgrown with bacterial colonies and could not be counted.
fecal_coliforms | Fecal Coliforms -incubated at 44.0C (cfu/100ml) | integer
notes | Notes | Text